| # Insert department name |  |
| --- | --- |
| STANDARD OPERATING PROCEDURE |  |
| Insert procedure title |  |
| Insert unique SOP code/nr | 1 of 5 (Pages) |

## Document Management

| This Version |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Name | Designation | Signature | Date |
| Compiled by |  |  |  |  |
| Reviewed by |  |  |  |  |
| Approved by |  |  |  |  |
| Effective date |  |  |  |  |
| Next SOP review date |  |  |  |  |

## Table of Contents

Insert a table of contents.

## Purpose and Scope

Include a brief description of the purpose and scope of the SOP.

## Abbreviations and Acronyms

List all abbreviations and acronyms used in this SOP

## Applicable Regulatory Requirements

List all the institutional and statutory approvals, registrations and/or permits that are required for this work. Refer to the UCT Research Integrity website (https://uct.ac.za/research-support-hub/research-integrity) and the document “Biosafety and biosecurity compliance in research, teaching, or testing activities in South Africa” (S. Groenewald) on the Biosafety and Biosecurity Resources website (Biosafety | Staff) for an overview of the relevant South African biosafety and biosecurity compliance requirements.

## Responsibilities

Complete the table with the specific responsibilities of the respective individuals or groups in the laboratory, e.g., Laboratory manager, H&S Officer, Researchers, Students, etc. Use job descriptions (not names as people may leave).

| Individual | Responsibilities |
| --- | --- |

## Biosafety & Biosecurity Risk Assessment and Risk Management

### Integrated risk assessment

Complete the table and include the relevant information for each potentially hazardous biological agent (pHBA) (animal, pathogen, cell line, clinical specimen, GMO, etc.) and each laboratory procedure in which each agent is handled. Make use of pathogen safety data sheets, the ACDP approved list of biological agents, the pathogen, parasite and toxin lists included in SA legislation (OHS Act, Non-proliferation of Weapons of Mass Destruction Act, etc.) to characterise the hazard. Include each step in which possible exposure or release of the hazard could occur in the “Activities” column.

| Risk assessment |  |  | Risk management | Risk conclusion |
| --- | --- | --- | --- | --- |
| Hazards (Characteristics of organism, biological material, cell culture, etc.) | Activities (Lab procedures which may facilitate exposure or release; one per line) | Possible harm (That may result from exposure or release) | Required engineering controls, containment equipment and PPE | Appropriate biosafety level (Include room numbers) |

### Other control measures

- TRAINING: List general and/or specific biosafety training required to execute the procedure.

Note: Training material and records must be available.

- BIOSECURITY: Include biosecurity considerations and/or requirements if relevant.

- STORAGE: Biological material storage requirements. Specify how and where the specific material should be stored, access-controlled fridge/freezer required, etc.

- MEDICAL SURVEILLANCE: Describe specific screening, vaccination requirements/recommendations (to decrease the severity of possible harm), are there specific considerations for vulnerable groups, etc.

- SOPs: Refer to other relevant SOPs (Agent-specific, storage, spill procedures, etc.)

## Decontamination and spill procedures

Describe validated decontamination/inactivation procedures for the specific biological agent and the step of the protocol/procedure (attach proof of or refer to published validation of the method, degree of kill). Include the type, concentration and contact time of the disinfectant for each agent, procedure and equipment that will be used (spills inside equipment such as the BSC, outside the BSC, inside the centrifuge, etc.).

## Waste management

Describe how solid and liquid waste generated during this specific procedure should be handled and disposed of. There may be a general Waste Management SOP for the laboratory, and you can refer to that, but describe the specific disposal requirements for biologicals and chemicals handled during this procedure. Refer to specific waste containers and waste collection.

## Equipment and consumables

List all the required equipment and consumables for the described procedure.

## Specific procedure description

Include a detailed step-by-step description of the procedure/workflow to cover What? How? Where? A workflow diagram of the individual steps could also be pasted in for clarity. Add subheadings where required.

## Supporting documents

List other referenced SOPs and other documents that are relevant to this procedure.

## Document history

Complete the table to keep track of changes to the SOP. All changes must be approved (according to internal requirements)

| Version History |  |  |  |
| --- | --- | --- | --- |
| Version number | Date | Changes | Approved by |

Material safety data sheets should be made available to researchers when available.

E.g., vortexing, working with needles, liquid aspiration, etc.